## Slide 1: Lesson 02 Ladder Logic Simulation with OpenPLC Editor
Dr. David J. Coe
Electrical and Computer Engineering Department
University of Alabama in Huntsville
coed@uah.edu

## Slide 2: Outline
Review
Simulation of Ladder Logic
Suggested Reading
Hands-On Laboratory Exercise #2

## Slide 3: Review

## Slide 4: Sample Ladder Logic in OpenPLC Editor
LED lights whenever PB2 is pressed
LED lights for 2 sec after PB1 is pressed
LED is off otherwise

## Slide 5: Simulation of Ladder Logic

## Slide 6: Ladder Logic Simulation - 1
Start OpenPLC Editor simulator

## Slide 7: Ladder Logic Simulation - 2
Select instance to debug
(Makes energized components visible in your ladder logic)

## Slide 8: Ladder Logic Simulation - 3
Select variables to view

## Slide 9: Ladder Logic Simulation - 4
Variable values appear on right
PB1 and PB2 false  wires to right not energized (black)
LED false  no light emitted

## Slide 10: Ladder Logic Simulation - 5
Force PB1 to true to simulate button press
(right-click on PB1 to see menu)

## Slide 11: Ladder Logic Simulation - 6
Green path through PB1 and LED from left rail to right rail
LED coil now energized  light emitted

## Slide 12: Ladder Logic Simulation - 7
Force PB1 to false to simulate button not pressed

## Slide 13: Ladder Logic Simulation - 8
LED coil will be de-energized after 2 sec
LED stops emitting light
Note: Hit STOP sign to end simulation

## Slide 14: Suggested Reading
The OpenPLC Project
  https://www.openplcproject.com/
Tommy Morris – Six SCADA Modules
  https://clark.center/details/tommy_morris/Six%20SCADA%20Modules

## Slide 15: Hands-On Laboratory Exercise #2

## Slide 16: Laboratory Exercise #2 Instructions - 1
Objective
  Learn how to use OpenPLC Editor’s simulator to verify correctness of a Ladder Logic program

## Slide 17: Laboratory Exercise #2 Instructions - 2
Use OpenPLC Editor to simulate the First Project Ladder Logic as described at the URL
https://www.openplcproject.com/reference-your-first-project
Force each input PB1 and PB2 through all possible combinations of input states
https://www.openplcproject.com/reference-your-first-project
PB1 state | PB2 state | LED status
Unpressed | Unpressed | 
Pressed | Unpressed | 
Unpressed | Pressed | 
Pressed | Pressed | 

## Slide 18: Laboratory Exercise #2 Instructions - 3
Sample Deliverables
  Screenshots of Ladder Logic program simulation including forcing of PB1 and PB2 to have all possible combinations of states
  Completed table as shown below
PB1 state | PB2 state | LED status
Unpressed | Unpressed | 
Pressed | Unpressed | 
Unpressed | Pressed | 
Pressed | Pressed |